## Sheet1
Cable ID | Tester Type | Main S/N | Remote S/N | Main Adapter | Remote Adapter | Main Adapter S/N | Remote Adapter S/N | SW Version | Test Standard | Cable Type | Overall Result | Date | Time | Media Type | Length Meters | Length Feet | Length Result | Prop. Delay | Prop. Delay Result | Project | Site | Building | Floor | Closet | Rack | Patch | Record Type | Outlet Location | Outlet Type | Outlet ID | Face plate | Links | Pathway | User | Service Record | Operator | Wire Map1 | Wire Map2 | Delay Skew | Delay Skew Result | Resistance | Resistance Result | Impedance | Impedance Result | ATTN Margin | Attenuation Result | NEXT Margin | NEXT Result | PS NEXT Margin | PS NEXT Result | ACR-N Margin | ACR-N Result | PS ACR-N Margin | PS ACR-N Result | RL Margin | RL Result | ACR-F Margin | ACR-F Result | PS ACR-F Margin | PS ACR-F Result | Prop. Delay 12 | Prop. Delay 36 | Prop. Delay 45 | Prop. Delay 78 | Resistance 12 | Resistance 36 | Resistance 45 | Resistance 78 | Attenuation 12 Margin | Attenuation 12 Value | Attenuation 12 Frequency | Attenuation 36 Margin | Attenuation 36 Value | Attenuation 36 Frequency | Attenuation 45 Margin | Attenuation 45 Value | Attenuation 45 Frequency | Attenuation 78 Margin | Attenuation 78 Value | Attenuation 78 Frequency | NEXT 12-36 Margin | NEXT 12-36 Value | NEXT 12-36 Frequency | NEXT 12-45 Margin | NEXT 12-45 Value | NEXT 12-45 Frequency | NEXT 12-78 Margin | NEXT 12-78 Value | NEXT 12-78 Frequency | NEXT 36-45 Margin | NEXT 36-45 Value | NEXT 36-45 Frequency | NEXT 36-78 Margin | NEXT 36-78 Value | NEXT 36-78 Frequency | NEXT 45-78 Margin | NEXT 45-78 Value | NEXT 45-78 Frequency | NEXT Remote 12-36 Margin | NEXT Remote 12-36 Value | NEXT Remote 12-36 Frequency | NEXT Remote 12-45 Margin | NEXT Remote 12-45 Value | NEXT Remote 12-45 Frequency | NEXT Remote 12-78 Margin | NEXT Remote 12-78 Value | NEXT Remote 12-78 Frequency | NEXT Remote 36-45 Margin | NEXT Remote 36-45 Value | NEXT Remote 36-45 Frequency | NEXT Remote 36-78 Margin | NEXT Remote 36-78 Value | NEXT Remote 36-78 Frequency | NEXT Remote 45-78 Margin | NEXT Remote 45-78 Value | NEXT Remote 45-78 Frequency | PS NEXT 12 Margin | PS NEXT 12 Value | PS NEXT 12 Frequency | PS NEXT 36 Margin | PS NEXT 36 Value | PS NEXT 36 Frequency | PS NEXT 45 Margin | PS NEXT 45 Value | PS NEXT 45 Frequency | PS NEXT 78 Margin | PS NEXT 78 Value | PS NEXT 78 Frequency | PS NEXT Remote 12 Margin | PS NEXT Remote 12 Value | PS NEXT Remote 12 Frequency | PS NEXT Remote 36 Margin | PS NEXT Remote 36 Value | PS NEXT Remote 36 Frequency | PS NEXT Remote 45 Margin | PS NEXT Remote 45 Value | PS NEXT Remote 45 Frequency | PS NEXT Remote 78 Margin | PS NEXT Remote 78 Value | PS NEXT Remote 78 Frequency | ACR-N 12-36 Margin | ACR-N 12-36 Value | ACR-N 12-36 Frequency | ACR-N 12-45 Margin | ACR-N 12-45 Value | ACR-N 12-45 Frequency | ACR-N 12-78 Margin | ACR-N 12-78 Value | ACR-N 12-78 Frequency | ACR-N 36-45 Margin | ACR-N 36-45 Value | ACR-N 36-45 Frequency | ACR-N 36-78 Margin | ACR-N 36-78 Value | ACR-N 36-78 Frequency | ACR-N 45-78 Margin | ACR-N 45-78 Value | ACR-N 45-78 Frequency | ACR-N Remote 12-36 Margin | ACR-N Remote 12-36 Value | ACR-N Remote 12-36 Frequency | ACR-N Remote 12-45 Margin | ACR-N Remote 12-45 Value | ACR-N Remote 12-45 Frequency | ACR-N Remote 12-78 Margin | ACR-N Remote 12-78 Value | ACR-N Remote 12-78 Frequency | ACR-N Remote 36-45 Margin | ACR-N Remote 36-45 Value | ACR-N Remote 36-45 Frequency | ACR-N Remote 36-78 Margin | ACR-N Remote 36-78 Value | ACR-N Remote 36-78 Frequency | ACR-N Remote 45-78 Margin | ACR-N Remote 45-78 Value | ACR-N Remote 45-78 Frequency | PS ACR-N 12 Margin | PS ACR-N 12 Value | PS ACR-N 12 Frequency | PS ACR-N 36 Margin | PS ACR-N 36 Value | PS ACR-N 36 Frequency | PS ACR-N 45 Margin | PS ACR-N 45 Value | PS ACR-N 45 Frequency | PS ACR-N 78 Margin | PS ACR-N 78 Value | PS ACR-N 78 Frequency | PS ACR-N Remote 12 Margin | PS ACR-N Remote 12 Value | PS ACR-N Remote 12 Frequency | PS ACR-N Remote 36 Margin | PS ACR-N Remote 36 Value | PS ACR-N Remote 36 Frequency | PS ACR-N Remote 45 Margin | PS ACR-N Remote 45 Value | PS ACR-N Remote 45 Frequency | PS ACR-N Remote 78 Margin | PS ACR-N Remote 78 Value | PS ACR-N Remote 78 Frequency | RL 12 Margin | RL 12 Value | RL 12 Frequency | RL 36 Margin | RL 36 Value | RL 36 Frequency | RL 45 Margin | RL 45 Value | RL 45 Frequency | RL 78 Margin | RL 78 Value | RL 78 Frequency | RL Remote 12 Margin | RL Remote 12 Value | RL Remote 12 Frequency | RL Remote 36 Margin | RL Remote 36 Value | RL Remote 36 Frequency | RL Remote 45 Margin | RL Remote 45 Value | RL Remote 45 Frequency | RL Remote 78 Margin | RL Remote 78 Value | RL Remote 78 Frequency | ACR-F 12-36 Margin | ACR-F 12-36 Value | ACR-F 12-36 Frequency | ACR-F 12-45 Margin | ACR-F 12-45 Value | ACR-F 12-45 Frequency | ACR-F 12-78 Margin | ACR-F 12-78 Value | ACR-F 12-78 Frequency | ACR-F 36-12 Margin | ACR-F 36-12 Value | ACR-F 36-12 Frequency | ACR-F 36-45 Margin | ACR-F 36-45 Value | ACR-F 36-45 Frequency | ACR-F 36-78 Margin | ACR-F 36-78 Value | ACR-F 36-78 Frequency | ACR-F 45-12 Margin | ACR-F 45-12 Value | ACR-F 45-12 Frequency | ACR-F 45-36 Margin | ACR-F 45-36 Value | ACR-F 45-36 Frequency | ACR-F 45-78 Margin | ACR-F 45-78 Value | ACR-F 45-78 Frequency | ACR-F 78-12 Margin | ACR-F 78-12 Value | ACR-F 78-12 Frequency | ACR-F 78-36 Margin
A03/A/07/21 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 01:32:35pm | Twisted Pair | 39.9 | 131 | PASS | 201 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 8 | PASS | 6.4 |  |  |  | 18.1 | PASS | 4.5 | PASS | 4.8 | PASS |  |  |  |  | 2.4 | PASS | 13 | PASS | 12.5 | PASS | 194 | 199 | 201 | 193 | 6.2 | 6.4 | 6.2 | 6 | 19.1 | 12 | 250 | 18.1 | 13 | 250 | 18.3 | 12.8 | 250 | 18.8 | 12.3 | 250 | 14.1 | 54.9 | 115.5 | 7.8 | 43.1 | 250 | 16.4 | 53.9 | 183.5 | 8.2 | 43.9 | 236 | 14 | 49.9 | 229.5 | 4.5 | 39.8 | 250 | 6 | 41.3 | 250 | 12.8 | 57 | 72 | 9.4 | 46.9 | 183.5 | 7.3 | 43.4 | 226 | 7.9 | 43.6 | 238.5 | 5.3 | 41.2 | 229.5 | 9.8 | 42.5 | 250 | 10 | 43.1 | 236 | 4.8 | 37.5 | 250 | 7 | 39.7 | 250 | 7.6 | 40.3 | 250 | 6.3 | 39 | 249 | 6.1 | 39.6 | 225.5 | 5.7 | 39.1 | 226.5 | 18.5 | 79.6 | 3.8 | 17.5 | 74.7 | 5.9 | 20.3 | 82.1 | 3.3 | 20.1 | 80.1 | 4.3 | 19.5 | 69.3 | 12.9 | 14.2 | 57.9 | 22.9 | 19.2 | 53.5 | 48.5 | 20.5 | 77.7 | 5.9 | 18.3 | 63.9 | 19.3 | 21.4 | 61.9 | 30.1 | 19.9 | 70 | 12.5 | 16 | 71.3 | 7.3 | 17.5 | 76.1 | 3.8 | 18.9 | 76.9 | 4.1 | 16.1 | 57.4 | 22.9 | 16 | 57.4 | 22.6 | 19 | 62.3 | 19.1 | 20 | 52 | 48.3 | 17.4 | 67.2 | 10.1 | 16.5 | 64.1 | 12.6 | 5.4 | 24.7 | 22.3 | 9.5 | 28.4 | 26.6 | 4.7 | 16.1 | 182 | 4.7 | 21.8 | 49.5 | 3.3 | 21.3 | 39.8 | 5.6 | 23.5 | 41 | 5.3 | 23.7 | 33.8 | 2.4 | 20.1 | 42.3 | 13.5 | 30.6 | 226 | 14.7 | 35 | 156.5 | 20.2 | 36.4 | 250 | 13.8 | 31.5 | 211.5 | 13.5 | 43.9 | 49 | 20.9 | 67.9 | 7.3 | 14.9 | 35.3 | 155.5 | 13.5 | 68.5 | 2.9 | 14.1 | 68.1 | 3.3 | 20.4 | 38 | 214 | 20.1
A03/A/07/23 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 01:31:03pm | Twisted Pair | 39.9 | 131 | PASS | 201 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 8 | PASS | 6.4 |  |  |  | 18.2 | PASS | 3.9 | PASS | 4.6 | PASS |  |  |  |  | 1.6 | PASS | 11.9 | PASS | 11.8 | PASS | 195 | 199 | 201 | 193 | 6.2 | 6.4 | 6.3 | 6 | 19.1 | 12 | 250 | 18.2 | 12.9 | 250 | 18.3 | 12.8 | 250 | 18.8 | 12.3 | 250 | 11.4 | 47 | 240.5 | 6.5 | 42.2 | 237 | 15.4 | 54.6 | 145.5 | 9.2 | 44.8 | 241.5 | 13.3 | 48.9 | 240.5 | 6.4 | 42.1 | 237 | 7.2 | 43 | 235 | 11.9 | 59.2 | 46 | 9 | 46.7 | 180.5 | 3.9 | 40.8 | 200.5 | 8.8 | 44.8 | 228 | 7 | 51.6 | 67.3 | 8.1 | 41.2 | 237.5 | 9.2 | 42.2 | 241 | 5.3 | 38.4 | 237 | 8.3 | 41.4 | 237 | 8 | 40.8 | 248 | 4.6 | 38 | 227 | 5.6 | 45.6 | 90.5 | 8.4 | 43.5 | 180.5 | 20.4 | 79.7 | 4.6 | 16.1 | 70.4 | 8.1 | 19.7 | 81.7 | 2.9 | 17.3 | 77.9 | 4 | 22.5 | 83.6 | 3.8 | 15 | 71.8 | 6.1 | 19.4 | 63.3 | 22.5 | 17.7 | 72.5 | 7.6 | 18.4 | 64.6 | 18.3 | 15.4 | 66.5 | 11.3 | 22.7 | 82.7 | 4.3 | 14.9 | 63.9 | 13.9 | 17.4 | 66.6 | 10.8 | 17.4 | 75.7 | 4 | 14.4 | 68.7 | 6.3 | 16.8 | 71.3 | 6.1 | 17.8 | 67.3 | 10.5 | 16.8 | 43 | 71.5 | 14 | 62.9 | 11.1 | 15.9 | 64.5 | 11.5 | 4.1 | 16.5 | 143.5 | 8.8 | 27.3 | 31.5 | 4.9 | 15 | 247 | 2.4 | 14.8 | 145 | 1.6 | 19.6 | 39.8 | 4.3 | 22.4 | 38.8 | 2.9 | 21 | 38.8 | 2.2 | 20.5 | 35 | 14.3 | 68.3 | 3.3 | 13.6 | 67.9 | 3.1 | 22.5 | 38.9 | 246 | 14.5 | 68.5 | 3.3 | 13.1 | 43.5 | 49 | 17 | 67.7 | 4.8 | 13.4 | 67.7 | 3.1 | 13.3 | 57.3 | 10.3 | 12.4 | 29.5 | 227 | 21.7 | 38.3 | 240.5 | 16.8
A03/A/07/22 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 12:22:11pm | Twisted Pair | 54.8 | 180 | PASS | 280 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 15 | PASS | 8.1 |  |  |  | 14.4 | PASS | 3.7 | PASS | 5.7 | PASS |  |  |  |  | 4.3 | PASS | 18.7 | PASS | 20.1 | PASS | 277 | 268 | 265 | 280 | 7.9 | 7.9 | 7.6 | 8.1 | 14.9 | 16.2 | 250 | 14.4 | 16.7 | 250 | 14.6 | 16.5 | 250 | 14.4 | 16.7 | 250 | 3.7 | 40.1 | 214 | 7.1 | 54.4 | 45.8 | 13.1 | 50.8 | 180.5 | 8.4 | 47.6 | 146 | 8.8 | 44.4 | 241.5 | 13.4 | 49.8 | 214 | 6.5 | 44.2 | 179 | 7.1 | 43.5 | 214 | 12.5 | 54.9 | 92 | 8.8 | 48 | 146 | 10.7 | 48.3 | 181.5 | 12.5 | 48.6 | 225 | 5.7 | 39.5 | 214 | 5.8 | 39.6 | 214 | 9 | 53.9 | 45.8 | 10.3 | 43 | 250 | 7.4 | 42.5 | 179 | 7.9 | 43 | 179 | 8.2 | 41.9 | 218.5 | 11.9 | 44.9 | 240.5 | 13.6 | 71.8 | 5.3 | 12.7 | 47.8 | 45.8 | 16.6 | 64.5 | 15.5 | 14.3 | 75.7 | 3.6 | 17 | 79 | 2.8 | 16.3 | 73.1 | 6.1 | 14.7 | 72.9 | 5.3 | 13.1 | 48.2 | 46 | 17.5 | 74.3 | 6.1 | 16.4 | 68.1 | 10.6 | 17 | 63.8 | 17.3 | 15.2 | 76.9 | 3.5 | 13.8 | 46.5 | 45.8 | 14.9 | 67.9 | 7.3 | 14.6 | 47.3 | 45.8 | 16.4 | 70.9 | 6.1 | 14.8 | 47.4 | 46 | 15.1 | 71 | 5.3 | 14.7 | 47.3 | 46 | 16.2 | 70.7 | 6.1 | 7.5 | 26.4 | 26.3 | 10.2 | 31.2 | 9.4 | 4.3 | 14.3 | 250 | 8.9 | 29.8 | 10.3 | 8.1 | 27 | 26.3 | 9.5 | 22.2 | 135.5 | 4.4 | 14.6 | 242 | 8.6 | 29.5 | 10.4 | 27 | 45.1 | 202 | 21.6 | 47.5 | 81.8 | 23.6 | 42.5 | 183.5 | 24.8 | 42.4 | 212.5 | 19.1 | 47.8 | 59.3 | 23.1 | 39.4 | 249 | 22.1 | 47.2 | 90.5 | 18.7 | 43.2 | 96.3 | 25.7 | 41.9 | 250 | 24.1 | 43.4 | 175.5 | 25.1
A03/A/07/24 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 12:16:34pm | Twisted Pair | 55 | 181 | PASS | 281 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 15 | PASS | 8.2 |  |  |  | 14.2 | PASS | 3.6 | PASS | 5.3 | PASS |  |  |  |  | 6.2 | PASS | 16.9 | PASS | 19.2 | PASS | 278 | 269 | 266 | 281 | 8 | 7.9 | 7.7 | 8.2 | 14.7 | 16.4 | 250 | 14.2 | 16.9 | 250 | 14.7 | 16.4 | 250 | 14.3 | 16.8 | 250 | 6.5 | 54 | 44.8 | 10.1 | 46.1 | 227.5 | 10.9 | 61.9 | 27 | 6.8 | 46.9 | 128.5 | 11.6 | 47.2 | 241 | 4.7 | 50.3 | 58.3 | 3.6 | 39 | 249.5 | 9.1 | 46.1 | 197 | 9.3 | 60.3 | 27 | 6.7 | 42.5 | 234.5 | 12.1 | 50.3 | 167 | 10.8 | 73 | 5.3 | 8 | 49.1 | 78 | 7.9 | 52.1 | 50.5 | 6.2 | 46 | 93.5 | 7 | 50.1 | 58.3 | 6.1 | 38.8 | 249.5 | 5.3 | 38.3 | 241.5 | 8.2 | 42.2 | 209.5 | 10.9 | 48.5 | 127.5 | 11.8 | 47.2 | 45 | 14.3 | 66.1 | 10.5 | 14.1 | 65 | 11.5 | 14.1 | 75.8 | 3.5 | 17.1 | 53.4 | 42 | 9.6 | 68.2 | 5 | 10.5 | 69.6 | 4.8 | 14.6 | 76.6 | 2.9 | 12.6 | 63.3 | 11.8 | 15.2 | 70.2 | 7.5 | 16.9 | 75.8 | 4.9 | 12.5 | 70.7 | 5.3 | 12.9 | 55.2 | 20.9 | 13.5 | 70.5 | 4.6 | 10.9 | 67.2 | 5 | 11.6 | 67.9 | 5 | 11.5 | 68.5 | 4.6 | 11.9 | 68.5 | 4.9 | 13.6 | 69.5 | 5.3 | 12.8 | 68.7 | 5.3 | 6.8 | 25.1 | 34.8 | 6.2 | 22.5 | 59 | 6.5 | 25.8 | 22 | 7.2 | 17.2 | 250 | 8.7 | 18.7 | 249.5 | 7.4 | 25.6 | 35.5 | 6.2 | 17.4 | 189.5 | 8.7 | 29.6 | 10.4 | 18.5 | 62.3 | 10.5 | 18.8 | 44 | 89.5 | 25.1 | 41.4 | 247.5 | 19.7 | 63.4 | 10.6 | 21.9 | 46.3 | 97.8 | 27.8 | 58.3 | 48.3 | 18.7 | 43.4 | 94 | 22.2 | 42.4 | 158 | 17.1 | 65.5 | 6.1 | 24.2 | 60.5 | 24.9 | 22.9
A03/A/07/20 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 12:10:36pm | Twisted Pair | 46.5 | 153 | PASS | 246 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 11 | PASS | 7.7 |  |  |  | 15.6 | PASS | 8.9 | PASS | 8.4 | PASS |  |  |  |  | 2.2 | PASS | 13.4 | PASS | 13.4 | PASS | 237 | 243 | 246 | 235 | 7.6 | 7.7 | 7.7 | 7.4 | 16.3 | 14.8 | 250 | 15.7 | 15.4 | 250 | 15.6 | 15.5 | 250 | 16.1 | 15 | 250 | 13.6 | 52.1 | 160 | 9.3 | 45.2 | 232.5 | 13.9 | 51 | 194.5 | 12.4 | 48.7 | 219 | 13.6 | 48.9 | 250 | 10 | 45.8 | 233.5 | 8.9 | 44.4 | 243.5 | 11.7 | 55 | 81.3 | 9.8 | 47.8 | 171 | 10.1 | 45.7 | 241.5 | 11 | 46.8 | 233 | 12.3 | 52.7 | 122.5 | 11.4 | 44.3 | 243 | 12 | 45.4 | 228.5 | 8.8 | 42.1 | 231.5 | 10.7 | 43.4 | 250 | 9.4 | 42.2 | 248 | 8.4 | 41.4 | 241.5 | 11.2 | 44.3 | 237 | 10.9 | 44 | 237.5 | 17.4 | 79.2 | 3.3 | 17.9 | 70.7 | 9.5 | 19.8 | 81.8 | 2.5 | 21.6 | 76 | 8 | 18.4 | 71.4 | 9.3 | 16.7 | 75.3 | 5 | 17.4 | 58.1 | 29.6 | 17.7 | 70.9 | 9.1 | 18.8 | 61.6 | 24.6 | 21.4 | 43.9 | 104.5 | 18.2 | 71.4 | 9.1 | 17.5 | 75.9 | 5.1 | 17.9 | 68.6 | 9.3 | 17.8 | 68 | 9.8 | 17.3 | 73.4 | 5.1 | 18.4 | 75.2 | 4.8 | 17.8 | 68.9 | 8.9 | 18.9 | 73.4 | 6.1 | 18.4 | 69.2 | 9.1 | 17.8 | 69 | 8.8 | 5.2 | 25.7 | 12.4 | 8.7 | 29 | 14 | 3.6 | 13.7 | 245 | 2.2 | 15.4 | 119.5 | 7.1 | 20.6 | 111.5 | 7 | 20.6 | 108.5 | 8 | 27.5 | 19.6 | 5.4 | 20.7 | 74.5 | 13.4 | 67.4 | 3.3 | 14.3 | 38.5 | 100 | 26.8 | 43 | 250 | 13.4 | 64.1 | 4.8 | 14.3 | 67.3 | 3.6 | 21 | 41.6 | 152 | 14.3 | 31.8 | 216.5 | 14.2 | 68.2 | 3.3 | 14.3 | 33.5 | 178.5 | 27.7 | 46.3 | 191 | 19.7
A03/A/07/19 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 12:08:24pm | Twisted Pair | 46.5 | 153 | PASS | 247 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 12 | PASS | 7.7 |  |  |  | 15.6 | PASS | 3.4 | PASS | 4.6 | PASS |  |  |  |  | 1.7 | PASS | 11.7 | PASS | 13.9 | PASS | 237 | 243 | 247 | 235 | 7.6 | 7.7 | 7.7 | 7.4 | 16.3 | 14.8 | 250 | 15.7 | 15.4 | 250 | 15.6 | 15.5 | 250 | 16.2 | 14.9 | 250 | 7 | 47.5 | 121.5 | 3.4 | 39.5 | 223.5 | 11.2 | 47.1 | 230 | 14.5 | 66.2 | 24.4 | 11.2 | 51.3 | 128 | 14.7 | 55.1 | 123 | 5.8 | 41.7 | 230.5 | 12.2 | 64.8 | 21.3 | 11.5 | 48.6 | 196.5 | 14.4 | 60.4 | 55 | 10.4 | 46.9 | 211 | 9.6 | 45.7 | 224.5 | 4.6 | 37.5 | 242.5 | 8.8 | 46.7 | 121.5 | 5.8 | 39.3 | 223.5 | 11.5 | 49.1 | 127.5 | 7.9 | 41.2 | 230.5 | 7.3 | 40.6 | 230.5 | 11.4 | 45.4 | 208.5 | 9.5 | 43.5 | 210.5 | 14.3 | 53.4 | 33.8 | 11.1 | 55.7 | 21.1 | 17.9 | 77.4 | 4.5 | 16.8 | 77.4 | 4 | 16.2 | 70.2 | 8.4 | 19.7 | 67 | 16.4 | 14.6 | 47.4 | 54.3 | 15.7 | 73.9 | 5.3 | 19 | 75.5 | 6.4 | 16.8 | 77.6 | 3.9 | 15.2 | 69.5 | 8.1 | 17.9 | 65.3 | 16.3 | 12.4 | 51.8 | 26.9 | 14.6 | 69.3 | 6 | 12.9 | 65 | 8 | 17.5 | 69.1 | 8.4 | 15.4 | 70.1 | 6 | 14.5 | 69.2 | 6 | 15.8 | 74.3 | 3.9 | 16.6 | 68.4 | 8.3 | 4.7 | 17.7 | 125.5 | 6.5 | 20.5 | 101 | 4.5 | 16 | 179 | 1.7 | 14.6 | 127.5 | 3.6 | 16.5 | 129.5 | 5.3 | 22 | 53.5 | 7.2 | 27.5 | 13.6 | 5.1 | 20.3 | 76.5 | 12 | 31.8 | 166.5 | 16.1 | 40 | 103.5 | 27.6 | 56.9 | 55.8 | 12.1 | 30.9 | 187 | 19.5 | 35.7 | 250 | 20.5 | 42.6 | 127.5 | 16.6 | 34.1 | 217 | 19.1 | 35.3 | 250 | 15.5 | 31.8 | 249 | 27.2 | 55.2 | 64.5 | 18.2
A03/A/07/18 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 01:34:04pm | Twisted Pair | 39.9 | 131 | PASS | 202 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 9 | PASS | 6.4 |  |  |  | 18.3 | PASS | 6.9 | PASS | 7 | PASS |  |  |  |  | 1.9 | PASS | 12.4 | PASS | 13.8 | PASS | 194 | 199 | 202 | 193 | 6.2 | 6.4 | 6.3 | 6.1 | 18.9 | 12.2 | 250 | 18.4 | 12.7 | 250 | 18.3 | 12.8 | 250 | 18.6 | 12.5 | 250 | 11.1 | 52.3 | 109.5 | 9 | 44.5 | 245 | 17.4 | 79.3 | 5.5 | 10.7 | 46.3 | 242.5 | 14.5 | 50.1 | 240 | 7.9 | 43.6 | 238.5 | 7.5 | 42.8 | 250 | 10.9 | 53.5 | 89.5 | 8.4 | 46.8 | 162.5 | 10.1 | 45.4 | 250 | 8.8 | 48 | 145.5 | 6.9 | 49.5 | 90 | 10.2 | 43.1 | 245 | 10.7 | 43.6 | 242.5 | 7.5 | 40.3 | 247.5 | 10.2 | 43.2 | 238.5 | 8.2 | 40.9 | 250 | 7.4 | 40.1 | 250 | 7.7 | 47.8 | 90 | 7 | 46.8 | 92.8 | 19 | 80.7 | 3.5 | 17.6 | 66.7 | 13.8 | 19.8 | 77.6 | 5.5 | 22 | 82.6 | 4 | 20 | 63.7 | 22.9 | 15 | 76.4 | 3.6 | 21.2 | 55.3 | 49.5 | 19 | 70.5 | 10.9 | 16.6 | 70.2 | 8.8 | 23.9 | 47.9 | 95.8 | 15.8 | 55.1 | 33 | 15.1 | 66 | 11.5 | 17.8 | 76.5 | 3.5 | 18.3 | 76.6 | 4 | 15.3 | 73.9 | 3.8 | 16 | 74.6 | 3.8 | 17.2 | 66 | 11.3 | 18 | 76.5 | 3.9 | 16.2 | 64.8 | 11.5 | 14.6 | 73.1 | 3.9 | 3.5 | 15.9 | 143.5 | 7.4 | 25.7 | 34 | 3.9 | 16.7 | 131 | 1.9 | 14.3 | 145 | 2.6 | 20.4 | 42 | 4.7 | 22.6 | 41 | 4.4 | 22.3 | 41 | 2.9 | 20.7 | 42 | 13.4 | 31.9 | 191.5 | 12.4 | 34.5 | 127 | 28.5 | 48.5 | 162.5 | 13 | 31.3 | 198 | 18.6 | 50.1 | 43.3 | 21.6 | 67.1 | 8.6 | 12.7 | 68.5 | 2.6 | 18.9 | 55.8 | 23.3 | 15.7 | 33.5 | 209.5 | 27.7 | 48 | 157 | 21.3
A03/A/07/16 | DTX-1800 | 1328025 | 1328026 | DTX-PLA002 | DTX-PLA002 | MC0DM8F | MC0DLX0 | 2.5200 | TIA Cat 6 Perm. Link | Cat 6 UTP | PASS | 16/12/2011 | 01:36:26pm | Twisted Pair | 39.9 | 131 | PASS | 202 | PASS | DEFAULT | INFOLAB | [5 empty] | Horizontal | [9 empty] | 1 2 3 4 5 6 7 8 | 1 2 3 4 5 6 7 8 | 9 | PASS | 6.4 |  |  |  | 18.3 | PASS | 5.9 | PASS | 6.4 | PASS |  |  |  |  | 1.9 | PASS | 13.4 | PASS | 13.9 | PASS | 194 | 199 | 202 | 193 | 6.2 | 6.4 | 6.2 | 6 | 18.7 | 12.3 | 248.5 | 18.4 | 12.7 | 250 | 18.3 | 12.8 | 250 | 18.6 | 12.5 | 250 | 11.4 | 52.6 | 110 | 11.6 | 47.4 | 234.5 | 17.5 | 54.6 | 195.5 | 7.6 | 43.1 | 246 | 13.6 | 56.6 | 85 | 13.5 | 49.1 | 240.5 | 5.9 | 42 | 225 | 13.1 | 51 | 175 | 11.1 | 48 | 200 | 8.7 | 44.2 | 245.5 | 7.7 | 43.1 | 249.5 | 10.9 | 56.6 | 58 | 13.6 | 46.8 | 234 | 9.2 | 42.1 | 243.5 | 9 | 42.1 | 238 | 13.8 | 46.8 | 240.5 | 7.9 | 41.4 | 225 | 6.4 | 39.9 | 225.5 | 10.2 | 42.9 | 248.5 | 8.9 | 42.1 | 233.5 | 18.8 | 65.3 | 17.6 | 21.7 | 77.7 | 6.8 | 23.2 | 76.6 | 8.9 | 23.4 | 54.9 | 59.5 | 22.2 | 68 | 18.9 | 20.2 | 76.2 | 6.8 | 19.4 | 65.8 | 17.9 | 24.1 | 62.9 | 34.5 | 20.2 | 65.9 | 19.1 | 20.8 | 81.4 | 4 | 21 | 53 | 57.5 | 19 | 65.6 | 17.5 | 21.1 | 65.3 | 17.5 | 19.8 | 63.9 | 17.8 | 19.6 | 73.2 | 6.8 | 20.8 | 75 | 6.4 | 20.4 | 54.9 | 40 | 20.4 | 69.9 | 10.5 | 20.4 | 49.8 | 58 | 18.4 | 61.7 | 19.1 | 2.8 | 15.2 | 143.5 | 6.9 | 25.2 | 34 | 3.7 | 16.5 | 131.5 | 2.5 | 15.1 | 137.5 | 1.9 | 20.2 | 34.5 | 4.3 | 22.7 | 33.8 | 3.3 | 21.4 | 38.5 | 2.8 | 21.1 | 35.3 | 14.4 | 65.1 | 4.8 | 13.6 | 36 | 123.5 | 36.6 | 52.9 | 248 | 14.2 | 32.4 | 199 | 16.9 | 60.6 | 10.6 | 17.9 | 66.2 | 6.3 | 14.1 | 68.4 | 3.1 | 16.8 | 57.2 | 15.5 | 13.9 | 31.5 | 214 | 29 | 46.4 | 219.5 | 17.2